## Calibration Data
Calibration Jig Notice for the Month of October
Calibration Date | Schedule Date | Control Number | Jig Name | Drawing Number | Terms | Dept/Sec | Remarks
10/25/2023 | 12/13/2024 | PWR 132 | ggyhihyuijoi | niyhyiy7hoio11111 | 18 | P3MC-PH(Honing)
10/26/2023 | 07/31/2024 | PPP674 | jig na blue | blueeeee | 12 | P3MC-PH(Honing)
10/27/2023 | 12/13/2024 | PWR 132 | jig na blue | blueeeee45747 | 18 | P3MC-PH(Honing)
10/28/2023 | 01/31/2025 | PWR 999 | fghdfhsf | sdfgds | 18 | P1SA-C
10/30/2023 | 10/31/2024 | 1ser4 | TESTING-AUG01 | TESTING-AUG01 | 12 | P1SA-C | 5